## Sheet1
Instrument Description | Model | Location | Mentor | Last Used | Upgrade Costs | Startup Costs | Notes
4 degree C controlled temperature room |  | DISC-261 |  |  |  |  | available for both classes and research
Platform Shaker |  | DISC-261 |  |  |  |  | available for both classes and research
shaking incubators (2) | Thermo Fisher MaxQ 4000 | DISC-263, 265 |  |  |  |  | reserved for microbiology classes Autumn quarter, available for research Winter, Spring, and Summer
incubators (4 small, 1 large) | Fisher Scientific | DISC-263, 265, 267 |  |  |  |  | reserved for microbiology classes Autumn quarter, available for research Winter, Spring, and Summer
Benchtop centrifuge (3) |  | DISC-263, 267 |  |  |  |  | available for both classes and research
-80 freezer | Thermo Fisher Revco UXF | DISC-265 |  |  |  |  | available for both classes and research
autoclave | Steris Amsco Century | DISC-265 |  |  |  |  | available for both classes and research
cryostat | Leica CM1860 | DISC-265 |  |  |  |  | available for both classes and research
flake ice machine | Scotsman | DISC-265 |  |  |  |  | available for both classes and research
microplate reader | Eon | DISC-265 |  |  |  |  | available for both classes and research
Thermocycler |  | DISC-265 |  |  |  |  | available for both classes and research
Platform Shaker |  | DISC-267 |  |  |  |  | available for both classes and research
8" Newtonian Telescope | Celestron Advanced VX, model 32062 | DISC-364A |  |  |  |  | available for both classes and research
Flow Injection Analysis Instrument | Hach Quikchem 8500 | DISC-367 |  |  |  |  | available for both classes and research
muffle furnace | Fisher Scientific Thermolyne, 10-557E | DISC-367 |  |  |  |  | available for both classes and research
Drying Oven | Fisher Scientific | DISC-369
incubator | Fisher Scientific Isotemp | DISC-369
Sieve Shaker | Tyler Rotap RX-29 | DISC-381 |  |  |  |  | available for both classes and research
Analytical Balance | Mettler Toledo XSE205 | DISC-463 | David Symon | 2017 |  |  | dedicated to lab classes (available for research when classes are not using lab) (up to 0.01 mg resolution)
Benchtop centrifuge (2) | Thermo Sorvall ST8 | DISC-463 | David Symon | 2017 |  |  | dedicated to lab classes (available for research when classes are not using lab)
Ion Chromatograph | LaChat IC-5000 | DISC-463 | Glen Gullickson | 2017 |  |  | available for both classes and research (pre-windows XP OS, not upgradable due to hardware)
Lyophilizer |  | DISC-463 | Glen Gullickson | 2017 |  |  | available for both classes and research
UV-Vis Spectrometer (Portable Diode array) (12) | OceanOptics Red Tide USB650 | DISC-463 | David Symon | 2017 |  |  | reserved for biochem classes Autumn and Winter quarter, available for research Spring and Summer
Vacuum Oven | VWR | DISC-463 | David Symon | 2017 |  |  | available for both classes and research
Flame Atomic Absorption Spectometer | Perkin Elmer AAnalyst 300 | DISC-463A | David Symon | 2017 | $1000-4000 |  | available for both classes and research (needs upgrade to windows 7, may require additional hardware and software )
Fluorometer | Perkin Elmer LS55 | DISC-463A | Glen Gullickson | 2017 |  |  | available for both classes and research
FPLC | GE AKTA Start | DISC-463A | Hyung Kim and Lori Robins | 2017 |  |  | available for both classes and research
FTIR | Nicolet iS50 | DISC-463A | Glen Gullickson | 2017 |  |  | available for both classes and research
GC-FID & ECD /w purge & trap | Agilent 6890 | DISC-463A |  | around 2000 | unknown | unknown | not currently functional (needs upgrade to windows 7) (ECD removed by EH&S 5/9/17)
GC-MS | Agilent 6850/5973N | DISC-463A | Glen Gullickson | 2017 | $3000-5000 |  | available for both classes and research (needs hardware upgrade for full support)
GC-MS & FID | Agilent 7890B/5977A | DISC-463A | David Symon | 2017 (FID 2015) |  |  | available for both classes and research
Gel Imager | BioRad Gel-Doc EZ | DISC-463A | Glen Gullickson | 2017 |  |  | available for both classes and research (white, green, and blue trays)
Graphite Furnace Spectrometer | Perkin Elmer HGA 850 | DISC-463A | David Symon | around 2000 | $1000-4000 | $100-1000 | not currently functional, HGA needs new chilling hose and pump (needs upgrade to windows 7, may require additional hardware and software)
HPLC | Agilent 1100 | DISC-463A | Glen Gullickson | 2017 | $1000-4000 |  | reserved for instrumental classes Winter quarter, available for research Autumn, Spring and Summer (needs upgrade to windows 7, may require additional hardware and software )
ICP-MS | Agilent 7500ce | DISC-463A | Glen Gullickson | 2016 | unknown | $15000-25000 | not currently functional (donated from UW-Seattle) (needs upgrade to Windows 7, may require new software)
LabQuest 2 (14) | Vernier LabQuest 2 | DISC-463A | David Symon | 2017 |  |  | reserved for biochem classes Autumn and Winter quarter, available for research Spring and Summer
Polarimeter |  | DISC-463A | Glen Gullickson | 2015 |  |  | available for both classes and research
Temperature Controlled Centrifuge (floor model) | Beckman Avanti J-E | DISC-463A | Glen Gullickson | 2017 |  |  | available for both classes and research
UV-Vis Spectrometer (Diode-array) | Agilent 8453 | DISC-463A | David Symon | 2017 |  |  | reserved for PCHEM classes Spring quarter, available for research Autumn, Winter, and Summer (needs upgrade to windows 7)
Drying Oven | Fisher Scientific | DISC-467 | Glen Gullickson | 2017 |  |  | available for both classes and research
Microbalance | Cahn C-33 | DISC-467 | Glen Gullickson | 2017 |  |  | available for both classes and research (250 mg limit, 0.001 mg resolution)
Rotary Evaporator | Heidolph | DISC-467 |  | 2016 |  |  | available for both classes and research
Rotary Evaporator |  | DISC-467 |  | around 2000 |  |  | available for both classes and research
Temperature Controlled Shaker | Thermo MAXQ8000 | DISC-467 | David Symon | 2017 |  |  | available for both classes and research
Benchtop centrifuge /w micro tube rotar (2) | Thermo Sorvall ST8 | DISC-469 | Glen Gullickson | 2017 |  |  | dedicated to lab classes (available for research when classes are not using lab) (micro tube max 16000 rpm)
400 MHz NMR | Bruker Ascend 400 MHz | DISC-469A | Glen Gullickson | 2017 |  |  | available for both classes and research (chiller/spinner installation in progress, eta summer 2017)
FTIR | Nicolet 670 | DISC-472 |  | 2017