## Sheet1
Instrument Description | Model | Location | Notes
4 degree C controlled temperature room |  | DISC-261 | available for both classes and research
8" Newtonian Telescope | Celestron Advanced VX, model 32062 | DISC-364A | available for both classes and research
-80 freezer | Thermo Fisher Revco UXF | DISC-265 | available for both classes and research
Analytical Balance (0.01 mg) | Mettler Toledo XSE205 | DISC-463 | available for both classes and research (80 g limit, 1E-5 g resolution)
Atomic Absorption/Graphite Furnace Spectometer | Perkin Elmer AAnalyst 300/HGA 850 | DISC-463A | available for both classes and research
autoclave | Steris Amsco Century | DISC-265 | available for both classes and research
Benchtop centrifuge (3) |  | DISC-263, 267 | available for both classes and research
Benchtop centrifuge (4) | Thermo Sorvall ST8 | DISC-463/469
cryostat | Leica CM1860 | DISC-265 | available for both classes and research
Data collection console (14) | Vernier LabQuest 2 | DISC-463A
Diode-array UV-Vis Spectrometer | Agilent 8453 | DISC-463A | available for both classes and research
Drying Oven | Fisher Scientific | DISC-369
Drying Oven | Fisher Scientific | DISC-467
flake ice machine | Scotsman | DISC-265 | available for both classes and research
Flow Injection Analysis Instrument | Hach Quikchem 8500 | DISC-367 | available for both classes and research
Fluorometer | Perkin Elmer LS55 | DISC-463A | available for both classes and research
Fourier Transform Infrared Spectrometer | Nicolet iS50 | DISC-463A | available for both classes and research
Fourier Transform Infrared Spectrometer | Nicolet 670 | DISC-472 | available for both classes and research
Gas chromatograph with Flame ionization/Electron capture detectors | Agilent 6890 | DISC-463A | available for both classes and research
Gas chromatograph with mass selective detector | Agilent 6850/5973N | DISC-463A | available for both classes and research
Gas chromatograph with Mass selective/Flame ionization detectors | Agilent 7890B/5977A | DISC-463A | available for both classes and research (currently in UW2-241 Jaffe Lab)
Gel Imager | BioRad Gel-Doc EZ | DISC-463A | available for both classes and research
High performance liquid chromatograph | Agilent 1100 | DISC-463A | available for both classes and research
incubator | Fisher Scientific Isotemp | DISC-369
incubators (4 small, 1 large) | Fisher Scientific | DISC-263, 265, 267 | reserved for microbiology classes Autumn quarter, available for research Winter, Spring, and Summer
Inductively Coupled Plasma Spectrometer | Spectro CIROS | DISC-463A | available for both classes and research
Microbalance | Cahn C-33 | DISC-467 | available for both classes and research (250 mg limit, 1E-6 g resolution)
microplate reader | Eon | DISC-265 | available for both classes and research
muffle furnace | Fisher Scientific Thermolyne, 10-557E | DISC-367 | available for both classes and research
Nuclear magnetic resonance spectrometer | Bruker Ascend 400 MHz | DISC-469A | available for both classes and research
Platform Shaker |  | DISC-261 | available for both classes and research
Platform Shaker |  | DISC-267 | available for both classes and research
Portable Diode array UV-Vis Spectrometer (12) | OceanOptics Red Tide USB650 | DISC-463
Rotary Evaporator | Heidolph | DISC-467 | available for both classes and research
shaking incubators (2) | Thermo Fisher MaxQ 4000 | DISC-263, 265 | reserved for microbiology classes Autumn quarter, available for research Winter, Spring, and Summer
Sieve Shaker | Tyler Rotap RX-29 | DISC-381 | available for both classes and research
Temperature Controlled Centrifuge (floor model) | Beckman Avanti J-E | DISC-463A | available for both classes and research
Temperature Controlled Shaker | Thermo MAXQ8000 | DISC-467 | available for both classes and research
Thermocycler |  | DISC-265 | available for both classes and research
Vacuum Oven | VWR | DISC-463 | available for both classes and research